Phụ lục 2.1. Phương pháp quan trắc không khí xung quanh

1. Lấy mẫu và đo tại hiện trường: lựa chọn phương pháp quy định tại quy chuẩn kỹ thuật quốc gia hiện hành tương ứng hoặc trong Bảng 6 dưới đây:

Bảng 6. Phương pháp lấy mẫu và đo tại hiên trường không khí xung quanh

| STT | Thông số | Số hiệu phương pháp |
| --- | --- | --- |
| 1 | SO2 | TCVN 5971:1995; TCVN 7726:2007; MASA 704A; MASA 704B; NIOSH 6004 |
| 2 | CO | TCVN 5972:1995; TCVN 7725:2007; MASA 128; ASTM D 3162; |
| 3 | NO2 | TCVN 6137:2009; MASA 406; ASTM D1607 |
| 4 | O3 | TCVN 6157:1996; TCVN 7171:2002 |
| 5 | H2S | MASA 701 |
| 6 | NH3 | TCVN 5293:1995; MASA 401 |
| 7 | Benzen | TCVN 12247-1:2018; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95 |
| 8 | Toluen | TCVN 12247-1:2018; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501 ASTM D 3686-95; |
| 9 | Xylen | TCVN 12247-1:2018; ASTM D 3686-95; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95 |
| 10 | Styren | TCVN 12247-1:2018; ASTM D 3686-95; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95. |
| 11 | Acetonitril | NIOSH Method 1606 |
| 12 | Benzidin | NIOSH Method 5509 |
| 13 | Naphtalen | OSHA Method 35 |
| 14 | Acetaldehyde | NIOSH Method 2538 |
| 15 | Anilin | NIOSH Method 2002 |
| 16 | Cloroform | NIOSH Method 1003 |
| 17 | Formaldehyt | OSHA Method 52; NIOSH Method 2541; NIOSH Method 3500; US EPA Compendium Method TO-11A |
| 18 | Tetracloetylen | NIOSH 1003; US EPA Method TO-17 |
| 19 | Vinyl clorua | NIOSH 1007; US EPA Method TO-17 |
| 20 | Phenol | NIOSH 3502; MASA 121; NIOSH 2546 |
| 21 | CH4 | ASTM 1945; MASA 101 |
| 22 | Mercaptan (tính theo Methyl mercaptan) | ASTM D2913 - 96(2007); NIOSH Method 2452 |
| 23 | Acrylonitril | NIOSH Method 1604 |
| 24 | Acrolein | NIOSH Method 2501 |
| 25 | Hydrocacbon | NIOSH Method 1500 |
| 26 | n-octan | NIOSH Method 1500 |
| 27 | Xyanua | MASA 808 |
| 28 | PAHs | NIOSH Method 5515; US EPA Method TO-13A |
| 29 | Cylohexan | NIOSH Method 1500 |
| 30 | n-heptan | NIOSH Method 1500 |
| 31 | Cl2 | MASA 202 |
| 32 | HF | MASA 809; MASA 205; MASA 203F; NIOSH Method 7906 |
| 33 | HCN | NIOSH Method 6017; NIOSH Method 6010 |
| 34 | H3PO4 | NIOSH Method 7908 |
| 35 | H2SO4 | NIOSH Method 7908 |
| 36 | HBr | NIOSH Method 7907 |
| 37 | HNO3 | NIOSH Method 7907 |
| 38 | HCl | NIOSH Method 7907 |
| 39 | Ni | TCVN 5067:1995; ASTM D4185-96; NIOSH Method 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 40 | Hg | ISO 6978- 2003; NIOSH Method 6009; OSHA Method ID 140; US EPA Method IO-5 |
| 41 | Mn | TCVN 5067:1995; ASTM D4185-96; NIOSH 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 42 | As | TCVN 5067:1995; NIOSH 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 43 | Cd | TCVN 5067:1995; ASTM Method D4185-96; NIOSH Method 7048; NIOSH 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4; ISO 11174:1996 |
| 44 | Cr (VI) | TCVN 5067:1995; OSHA Method ID 215; NIOSH Method 7600; ASTM D 6832 |
| 45 | Asin (AsH3) | NIOSH Method 6001 |
| 46 | Tổng bụi lơ lửng (TSP) | TCVN 5067:1995; US EPA Compendium Method IO-2.1 (high volume); ASTM D 4096 -17 |
| 47 | PM10 | 40 CFR part 50 Method appendix J; AS/NZS 3580.9.7:2009; AS/NZS 3580.9.6:2003; US EPA Compendium Method IO-2.1 (high volume); US EPA Compendium Method IO-1.2; US EPA Compendium Method IO-2.3 |
| 48 | PM2,5 | 40 CFR Part 50 Method Appendix L; AS/NZS 3580.9.7:2009; |
| 49 | Pb | TCVN 5067:1995; ASTM D4185-96; NIOSH Method 7300; NIOSH Method 7301; NIOSH Method 7302; NIOSH Method 7303; NIOSH Method 7082; NIOSH Method 7105; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 50 | Polyclobiphenyl (PCB) | US EPA Method TO-9A; US EPA Method TO-10A; US EPA Method TO-4A |
| 51 | Dioxin/furan (PCDD/PCDF) | US EPA Method TO-9A |
| 52 | Các hợp chất Polyclobiphenyl tương tự Dioxin (dl-PCB) | US EPA Method TO-9A |
| 53 | Các thông số khí tượng (hướng gió, tốc độ gió, nhiệt độ, độ ẩm tương đối, áp suất) | QCVN 46:2012/BTNMT |

2. Phân tích trong phòng thí nghiệm: lựa chọn phương pháp quy định tại quy chuẩn kỹ thuật quốc gia hiện hành hoặc trong Bảng 7 dưới đây:

Bảng 7. Phương pháp phân tích trong phòng thí nghiệm

| STT | Thông số | Số hiệu phương pháp |
| --- | --- | --- |
| 1 | SO2 | TCVN 5971:1995; TCVN 7726:2007; MASA 704A; MASA 704B; NIOSH 6004; |
| 2 | CO | TCVN 5972:1995; TCVN 7725:2007; MASA 128; OSHA ID-209; OSHA ID 210 (sắc ký); ASTM D 3162 |
| 3 | NO2 | TCVN 6137:2009; MASA 406; ASTM D1607 |
| 4 | O3 | TCVN 6157:1996; TCVN 7171:2002 |
| 5 | H2S | MASA 701 |
| 6 | NH3 | TCVN 5293:1995; MASA 401 |
| 7 | Benzen | TCVN 12247-1:2018; ASTM D 3686-95; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95; ISO 16017-1:2000; NIOSH Method 1501 |
| 8 | Toluen | TCVN 12247-1:2018; ASTM D 3686-95; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95; ISO 16017-1:2000; NIOSH Method 1501 |
| 9 | Xylen | TCVN 12247-1:2018; ASTM D 3686-95; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95; ISO 16017-1:2000; NIOSH Method 1501 |
| 10 | Styren | TCVN 12247-1:2018; ASTM D 3686-95; ISO 16017-1:2000; US EPA Method TO-17; MASA 834; NIOSH Method 1501; ASTM D 3686-95; ISO 16017-1:2000; NIOSH Method 1501 |
| 11 | Acetonitril | NIOSH Method 1606 |
| 12 | Benzidin | NIOSH Method 5509 |
| 13 | Naphtalen | OSHA Method 35 |
| 14 | Acetaldehyde | NIOSH Method 2538 |
| 15 | Anilin | NIOSH Method 2002 |
| 16 | Cloroform | NIOSH Method 1003 |
| 17 | Formaldehyt | NIOSH Method 2541; NIOSH Method 3500; OSHA Method 52; US EPA Compendium Method TO-11A |
| 18 | Tetracloetylen | US.EPA Method TO-17; NIOSH Method 1003 |
| 19 | Vinyl clorua | USEPA Method TO-17; NIOSH Method 1007 |
| 20 | Phenol | NIOSH Method 3502; OSHA Method 32; NIOSH 2546 |
| 21 | CH4 | MASA 101; ASTM 1945 |
| 22 | Mercaptan (tính theo Methyl mercaptan) | ASTM D2913 - 96(2007); NIOSH Method 2452. |
| 23 | Acrylonitril | NIOSH Method 1604 |
| 24 | Acrolein | NIOSH Method 2501 |
| 25 | Hydrocacbon | NIOSH Method 1500 |
| 26 | n-octan | NIOSH Method 1500 |
| 27 | Xyanua | MASA 808 |
| 28 | PAHs | NIOSH Method 5515; US EPA Compendium Method TO-13A |
| 29 | Cylohexan | NIOSH Method 1500 |
| 30 | n-heptan | NIOSH Method 1500 |
| 31 | Cl2 | MASA 202 |
| 32 | HF | MASA 809; MASA 205; MASA 203F; NIOSH Method 7906 |
| 33 | HCN | NIOSH Method 6017; NIOSH Method 6010D |
| 34 | H3PO4 | NIOSH Method 7908 |
| 35 | H2SO4 | NIOSH Method 7908 |
| 36 | HBr | NIOSH Method 7907 |
| 37 | HNO3 | NIOSH Method 7907 |
| 38 | HCl | NIOSH Method 7907 |
| 39 | Ni | ASTM D4185-96; NIOSH 7 Method 300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 40 | Hg | ISO 17733:2015; NIOSH Method 6009; OSHA Method ID 140 |
| 41 | Mn | ASTM D4185-96; NIOSH 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 42 | As | NIOSH 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4 |
| 43 | Cd | ASTM D4185-96; NIOSH Method 7048; NIOSH 7300; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4; ISO 11174:1996 |
| 44 | Cr (VI) | NIOSH Method 7600; OSHA Method ID 215; ASTM D 6832 |
| 45 | Asin (AsH3) | NIOSH Method 6001 |
| 46 | Tổng bụi lơ lửng (TSP) | TCVN 5067:1995; US EPA Compendium Method IO-2.1 (high volume); ASTM D 4096 -17 |
| 47 | PM10 | 40 CFR part 50 Method appendix J; AS/NZS 3580.9.7:2009; AS/NZS 3580.9.6:2003; US EPA Compendium Method IO-2.1 (high volume) |
| 48 | PM2,5 | 40 CFR Part 50 Method appendix L; AS/NZS 3580.9.7:2009 |
| 49 | Pb | TCVN 6152:1996 NIOSH Method 7300; NIOSH Method 7301; NIOSH Method 7302; NIOSH Method 7303; NIOSH Method 7082; NIOSH Method 7105; ASTM D4185-96; US EPA Compendium Method IO-3.2; US EPA Compendium Method IO-3.3; US EPA Compendium Method IO-3.4; ISO 9855:1993; ISO 8518:2001 |
| 50 | Polyclobiphenyl (PCB) | US EPA Method TO-9A; US EPA Method 1668A/B; TCVN 8601:2009; TCVN 9241:2012; SMEWW 6630C:2017; Method EN-1948-4 WHO PCB; Method EN-1948-4 Marker PCB; US EPA Method 8270D |
| 51 | Tổng dioxin/furan, PCDD/PCDF | US EPA Method TO-9A; U.S. EPA Method 1613; U.S. EPA Method 8290; U.S. EPA Method 8280; JIS Methods K0311 and K0312; Method EN-1948 |
| 52 | Các hợp chất polyclobiphenyl tương tự dioxin, dl-PCB | US EPA Method TO-9A; US EPA Method 1668B |